## Sheet
Mar. 8 | 2023 22:17:09
Square Wave Voltammetry
File: c:\users\lukas\onedrive\documents\wearables\chi swv analysis\test swv\pbp4.csv
Data Source: Experiment
Instrument Model: CHI840D
Header:
Note:
Init E (V) = 0
Final E (V) = -0.4
Incr E (V) = 0.004
Amplitude (V) = 0.025
Frequency (Hz) = 200
Quiet Time (sec) = 2
Sensitivity (A/V) = 1e-5
Difference:
Forward:
Reverse:
Potential/V | Diff(i/A) | For(i/A) | Rev(i/A)
-0.004 | -4.073e-5 | -2.304e-5 | 1.768e-5
-0.008 | -4.104e-5 | -2.411e-5 | 1.693e-5
-0.012 | -4.115e-5 | -2.470e-5 | 1.645e-5
-0.016 | -4.120e-5 | -2.511e-5 | 1.609e-5
-0.020 | -4.125e-5 | -2.542e-5 | 1.582e-5
-0.024 | -4.127e-5 | -2.569e-5 | 1.558e-5
-0.028 | -4.132e-5 | -2.591e-5 | 1.541e-5
-0.032 | -4.139e-5 | -2.612e-5 | 1.527e-5
-0.036 | -4.143e-5 | -2.630e-5 | 1.513e-5
-0.040 | -4.149e-5 | -2.648e-5 | 1.501e-5
-0.044 | -4.155e-5 | -2.665e-5 | 1.490e-5
-0.048 | -4.159e-5 | -2.680e-5 | 1.479e-5
-0.052 | -4.168e-5 | -2.697e-5 | 1.471e-5
-0.056 | -4.174e-5 | -2.713e-5 | 1.461e-5
-0.060 | -4.180e-5 | -2.728e-5 | 1.452e-5
-0.064 | -4.187e-5 | -2.743e-5 | 1.444e-5
-0.068 | -4.193e-5 | -2.757e-5 | 1.436e-5
-0.072 | -4.202e-5 | -2.773e-5 | 1.429e-5
-0.076 | -4.205e-5 | -2.787e-5 | 1.419e-5
-0.080 | -4.212e-5 | -2.802e-5 | 1.410e-5
-0.084 | -4.218e-5 | -2.815e-5 | 1.403e-5
-0.088 | -4.221e-5 | -2.828e-5 | 1.393e-5
-0.092 | -4.227e-5 | -2.841e-5 | 1.386e-5
-0.096 | -4.230e-5 | -2.854e-5 | 1.376e-5
-0.100 | -4.233e-5 | -2.866e-5 | 1.367e-5
-0.104 | -4.237e-5 | -2.878e-5 | 1.359e-5
-0.108 | -4.237e-5 | -2.887e-5 | 1.350e-5
-0.112 | -4.241e-5 | -2.899e-5 | 1.342e-5
-0.116 | -4.242e-5 | -2.909e-5 | 1.333e-5
-0.120 | -4.242e-5 | -2.918e-5 | 1.324e-5
-0.124 | -4.240e-5 | -2.926e-5 | 1.314e-5
-0.128 | -4.238e-5 | -2.933e-5 | 1.305e-5
-0.132 | -4.240e-5 | -2.941e-5 | 1.298e-5
-0.136 | -4.238e-5 | -2.949e-5 | 1.289e-5
-0.140 | -4.235e-5 | -2.954e-5 | 1.281e-5
-0.144 | -4.234e-5 | -2.961e-5 | 1.273e-5
-0.148 | -4.232e-5 | -2.966e-5 | 1.267e-5
-0.152 | -4.233e-5 | -2.973e-5 | 1.260e-5
-0.156 | -4.230e-5 | -2.977e-5 | 1.252e-5
-0.160 | -4.228e-5 | -2.982e-5 | 1.245e-5
-0.164 | -4.227e-5 | -2.988e-5 | 1.239e-5
-0.168 | -4.225e-5 | -2.992e-5 | 1.233e-5
-0.172 | -4.225e-5 | -2.997e-5 | 1.228e-5
-0.176 | -4.223e-5 | -3.003e-5 | 1.221e-5
-0.180 | -4.224e-5 | -3.008e-5 | 1.216e-5
-0.184 | -4.225e-5 | -3.013e-5 | 1.211e-5
-0.188 | -4.224e-5 | -3.018e-5 | 1.206e-5
-0.192 | -4.226e-5 | -3.024e-5 | 1.203e-5
-0.196 | -4.226e-5 | -3.029e-5 | 1.197e-5
-0.200 | -4.227e-5 | -3.034e-5 | 1.193e-5
-0.204 | -4.227e-5 | -3.039e-5 | 1.188e-5
-0.208 | -4.227e-5 | -3.043e-5 | 1.184e-5
-0.212 | -4.230e-5 | -3.049e-5 | 1.181e-5
-0.216 | -4.228e-5 | -3.053e-5 | 1.175e-5
-0.220 | -4.228e-5 | -3.057e-5 | 1.171e-5
-0.224 | -4.229e-5 | -3.061e-5 | 1.167e-5
-0.228 | -4.227e-5 | -3.064e-5 | 1.163e-5
-0.232 | -4.229e-5 | -3.069e-5 | 1.160e-5
-0.236 | -4.227e-5 | -3.072e-5 | 1.155e-5
-0.240 | -4.226e-5 | -3.075e-5 | 1.150e-5
-0.244 | -4.224e-5 | -3.078e-5 | 1.147e-5
-0.248 | -4.221e-5 | -3.079e-5 | 1.142e-5
-0.252 | -4.221e-5 | -3.082e-5 | 1.139e-5
-0.256 | -4.218e-5 | -3.084e-5 | 1.134e-5
-0.260 | -4.216e-5 | -3.086e-5 | 1.130e-5
-0.264 | -4.215e-5 | -3.089e-5 | 1.127e-5
-0.268 | -4.211e-5 | -3.089e-5 | 1.122e-5
-0.272 | -4.211e-5 | -3.092e-5 | 1.119e-5
-0.276 | -4.208e-5 | -3.094e-5 | 1.115e-5
-0.280 | -4.204e-5 | -3.095e-5 | 1.109e-5
-0.284 | -4.203e-5 | -3.097e-5 | 1.106e-5
-0.288 | -4.199e-5 | -3.097e-5 | 1.102e-5
-0.292 | -4.199e-5 | -3.100e-5 | 1.099e-5
-0.296 | -4.196e-5 | -3.102e-5 | 1.094e-5
-0.300 | -4.192e-5 | -3.102e-5 | 1.089e-5
-0.304 | -4.191e-5 | -3.105e-5 | 1.085e-5
-0.308 | -4.187e-5 | -3.106e-5 | 1.082e-5
-0.312 | -4.187e-5 | -3.109e-5 | 1.078e-5
-0.316 | -4.184e-5 | -3.111e-5 | 1.073e-5
-0.320 | -4.181e-5 | -3.112e-5 | 1.069e-5
-0.324 | -4.179e-5 | -3.114e-5 | 1.065e-5
-0.328 | -4.177e-5 | -3.116e-5 | 1.061e-5
-0.332 | -4.175e-5 | -3.119e-5 | 1.056e-5
-0.336 | -4.174e-5 | -3.123e-5 | 1.051e-5
-0.340 | -4.173e-5 | -3.125e-5 | 1.047e-5
-0.344 | -4.172e-5 | -3.129e-5 | 1.043e-5
-0.348 | -4.170e-5 | -3.131e-5 | 1.039e-5
-0.352 | -4.172e-5 | -3.136e-5 | 1.036e-5
-0.356 | -4.170e-5 | -3.140e-5 | 1.030e-5
-0.360 | -4.170e-5 | -3.144e-5 | 1.026e-5
-0.364 | -4.169e-5 | -3.148e-5 | 1.021e-5
-0.368 | -4.169e-5 | -3.152e-5 | 1.016e-5
-0.372 | -4.172e-5 | -3.158e-5 | 1.013e-5
-0.376 | -4.171e-5 | -3.164e-5 | 1.007e-5
-0.380 | -4.171e-5 | -3.169e-5 | 1.002e-5
-0.384 | -4.172e-5 | -3.175e-5 | 9.970e-6
-0.388 | -4.175e-5 | -3.182e-5 | 9.923e-6
-0.392 | -4.179e-5 | -3.190e-5 | 9.885e-6
-0.396 | -4.179e-5 | -3.197e-5 | 9.816e-6
-0.400 | -4.181e-5 | -3.205e-5 | 9.757e-6